Science lab crib sheet

Date:

Inspector:

Location:

|  |  |  |
| --- | --- | --- |
| Topic | Key Points | Observations |
| Management of chemicals | CoSHH assessmentsMSDSSafe storage |  |
| Radioactive Source | Annual audit completedOutstanding actions addressed |  |
| Gas Safety | Gas safe certificateGas shut off in relevant areas |  |
| Electrical safety | Fixed wiring inspected in last 5 yearsRCDs fitted on electrical sockets near sinksPat testing |  |
| Lasers | Class 2 lasers onlyKey operated. |  |
| Magnetic fields | Any equipment that generates a strong magnetic field has been assessed and necessary precautions taken. |  |
| Biological agents | Assessments are completedArrangements for new and expectant mothersControlled storage |  |
| Pressure vessels | Statutory inspection completed of compressors, miniature steam engines etc |  |
| Work equipment | Equipment assessed.Pat testing completedGuarding fitted where required |  |
| Compressed gases | Safe storageAdequate ventilation |  |
| PPE | Adequate provisionLog |  |
| LEV | Inspected every 14 monthsAir flow tests |  |
| Sharps | Sharps containerNeedle-stick protocol |  |
| Mechanical ventilation | Ventilation needs for laboratory assessed?Mechanical ventilation in operation |  |
| Fire | Suitable extinguishersTrained staff |  |
| Hazardous waste | Waste segregated.Waste disposed of in line with waste regs. |  |
| CLEAPSS RA & SOPS. | Assessments in place for experimentsStaff trained in RA & SOPS |  |