## Outlet Monthly Monitoring
Please print, photocopy extra sheets, as required.
Outlets
Monthly Temperature Monitoring
Company Name: | [11 empty] | Site Name:
Manager/Supervisor: | [11 empty] | Site Reference:
Signature: | [11 empty] | Action required if: Cold Water temperature is greater than 20'C & hot is less than 50'C. Hot water saftey sign should be installed by any hot outlet outputting at 45'C, or greater. Please also complete corrective measures record sheet if required.
RECORD COLD WATER TEMPERATURE WITHIN 2 MINIUTES OF RUNNING OUTLET. | [11 empty] | RECORD HOT WATER TEMPERATURE WITHIN 1 MINIUTES OF RUNNING OUTLET.
Outlet Location |  | Jan |  | Feb |  | Mar |  | Apr |  | May |  | Jun |  | Jul |  | Aug |  | Sep |  | Oct |  | Nov |  | Dec
|  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date:
J.No.
Floor | Room | H | C | H | C | H | C | H | C | H | C | H | C | H | C | H | C | H | C | H | C | H | C | H | C
Initials:

## Showers SMRS
Please print, photocopy extra sheets, as required.
Showers
Corrective Measures Record Sheet
Company Name: |  |  |  | Site Name:
Engineer:
Signature: |  |  |  | Site Reference:
Date Problem Identified | Number of Showers | Shower(s) Location | Description of Problem & Works Required |  | Works Completion Date | Name & Signature (preferably od responsible person/deputy, or alternatively the specialist contractor carrying out remedial works)
Additional Comments:

## System Deadlegs & Flushing
Please print, photocopy extra sheets, as required.
System Deadlegs & Flushing
Weekly Flushing Record Sheet
Company Name: | [25 empty] | Site Name:
Engineer:
Signature: | [25 empty] | Site Reference:
Outlet Location | Week | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
| Month | 1: January; 6: February; 10: March; 14: April; 18: May; 23: June; Site Reference: 27: July; Site Reference: 32: August; Site Reference: 36: September; Site Reference: 40: October; Site Reference: 45: November; Site Reference: 49: December
Date
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
|  | January |  |  |  |  | February |  |  |  | March |  |  |  | April |  |  |  | May |  |  |  |  | June |  |  |  | July |  |  |  |  | August |  |  |  | September |  |  |  | October |  |  |  |  | November |  |  |  | December
Completed in accordance with the HSE Approved Code Of Practise & Guidance, L8

## Schedule of Monitoring & Clean
Please print, photocopy extra sheets, as required.
Schedule of Monitoring and Cleaning
Annual Planner - 2017 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
| January |  |  |  |  | February |  |  |  | March |  |  |  | April |  |  |  | May |  |  |  |  | June |  |  |  | July |  |  |  |  | August |  |  |  | September |  |  |  | October |  |  |  |  | November |  |  |  | December
Cooling Towers | 1: Not Applicable
Legionella screenings
Clean & chlorination
Analytical visits
Supply of chemicals
Dipslide tests
Domestic Cold Water
Tank Inspection
Disinfection of Tanks & Outlets
Temperature Monitoriing Of Taps
Domestic Hot Water
Calorifier Inspection
Temperature Monitoring of Calorifiers
Chlorination of calorifier/outlets
Temperature Monitoring of Taps
Infrequently used Outlets
Weekley Flushing
Showers
Quarterly Inspection & Descale
Water Sampling
TVC Sampling
Legionella Sampling
Annual Planner | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
| January |  |  |  |  | February |  |  |  | March |  |  |  | April |  |  |  | May |  |  |  |  | June |  |  |  | July |  |  |  |  | August |  |  |  | September |  |  |  | October |  |  |  |  | November |  |  |  | December

## Site Visitors Log Sheet
Site Visitors Log Sheet
Date | Visitors Name | Company Name | Purpose of Visit | Time In | Time Out

## Water Sampling, Results & Certi
Please print, photocopy extra sheets, as required.
Water Sampling, Results & Certificates
Sample Collection Record Sheet
Company Name: |  |  |  | Site Name:
Engineer:
Signature: |  |  |  | Site Reference:
Laboratory Number | Site Reference | Location and Description | Temperature |  | Analysis Required |  |  |  | Comments
|  |  | Initial | Running | B | LP | PS | Chem
B = TVC, Coliforms, E.coli. LP = Legionella. PS = Pseudomonas. Chem = Chemistry
Completed in accordance with the HSE Approved Code Of Practise & Guidance, L8